## Copy-paste this template into a .txt or markdown file. Do NOT use a word document for your final README. Questions? Email Shannon.sheridan@pnnl.gov

This Soil Microbiome SFA A3.1 Prosser Time Series GENERAL readme.txt file was generated on YYYY-MM-DD by NAME

GENERAL INFORMATION

1. Title of Dataset: A3.1 Prosser Time Series <<DATATYPE>> Data

2. Principal Researcher:

Name: Kirsten Hofmockel

Institution: Pacific Northwest National Laboratory

Email: kirsten.hofmockel@pnnl.gov

ORCID: 0000-0003-1586-2167

3. Additional Author Contact Information

Name: Sheryl Bell

Institution: Pacific Northwest National Laboratory

Email: Sheryl.bell@pnnl.gov

ORCID: 0000-0001-8445-1375

4. Information about funding sources supporting the data: DOE BER GSP Soil Microbiome SFA, FWP 70880

5. Geographic location of data collection: 46°15'04"N, 119°43'43"W, Prosser, WA, USA

6. Date of data collection (single date, range, approximate date): monthly from 2024-06-07 to 2024-07-03

DATA & FILE OVERVIEW

1. File List:

<list all files (or folders, as appropriate for dataset organization) contained in the dataset, with a brief description>

Suggested split into multiple data packages: Biogeochemistry, Physiology/Phenotypes, Amplicon 16S, Amplicon ITS

SoilSFA_3.1_Biogeochemistry.csv : Field respiration, pH, GWC, OM, NH4, NO3, PO4, CN, weather.- completed and ready for review

Microbial physiology: (EEA+ Biomass, MicroResp)- 2 files-completed and ready for review

SoilSFA_3.1_MicroResp.csv:

SoilSFA_3.1_EEA.csv:

SoilSFA_3.1_Amplicon_16S: (note that there will be both raw and processed files)

SoilSFA_A3.1_16S_metadata.cvs : Sample metadata and total reads from 16S rRNA amplicon sequencing.

SoilSFA_A3-1_16S_ ASV_counts.csv : Sample specific read counts for each ASV from 16S rRNA amplicon sequencing.

SoilSFA_A3-1_16S_taxonomy.cvs : Taxonomic assignments for each ASV from 16S rRNA amplicon sequencing.

Soil_SFA_A3.1_16S_raw/ (DIRECTORY): Files containing R1/R2 are the forward/reverse reads from the Illumina MiSeq instrument and contain the taxonomic sequence for the samples. Files with I1/I2 are the indexed read files used to demultiplex the dataset on the Illumina MiSeq.

SoilSFA_3.1_Amplicon_ITS: (note that there will be both raw and processed files)

SoilSFA_A3-1_ITS_metadata.cvs: Sample metadata and total reads from ITS rRNA amplicon sequencing.

SoilSFA_A3-1_ITS_ ASV_counts.csv : Sample specific read counts for each ASV from ITS rRNA amplicon sequencing.

SoilSFA_A3-1_ITS_taxonomy.cvs : Taxonomic assignments for each ASV from ITS rRNA amplicon sequencing.

Soil_SFA_A3.1_ITS_raw/ (DIRECTORY): Files containing R1/R2 are the forward/reverse reads from the Illumina MiSeq instrument and contain the taxonomic sequence for the samples. Files with I1/I2 are the indexed read files used to demultiplex the dataset on the Illumina MiSeq.

Metagenomes (generated by JGI under user proposal XXXXXX):

Metatranscriptomes (generated by JGI under user proposal XXXXXX):

*note there will be rhizosphere specific metaG and metaT generated*

2. Relationship between files, if important:

All data generated from the sample set of field soil samples.

3. Additional related data collected that was not included in the current data package:

Metagenomes and metatranscriptomes have been generated from a subset of samples and will be released as a separate activity and data package (Soil Microbiome SFA A3.3 Viral Time Series).

4. Are there multiple versions of the dataset? yes/no

A. If yes, name of file(s) that was updated:

i. Why was the file updated?

ii. When was the file updated?

DATA-SPECIFIC INFORMATION FOR: [SoilSFA_3.1_MicroResp.csv]

1. Number of variables: 20

2. Number of cases/rows: 19531 (including header)

3. Variable List:

Sample_cat: unique Soils SFA identifier (format SM####)

Collection_date: date of sample collection (YYYY-MM-DD)

Plot: unique numeric plot ID (1,25,27,40,46,57,8,13,28, 33, 48, 53

Irrigation_trmt_pct: irrigation treatment level by relative % water application (25, 100)

Irrigation_trmt_cat: irrigation treatment level by category (T1 = 100%, T4 = 25%)

gdw_well: g dry soil in each well of 96-deepwell plate

Timepoint: End point of the measurement period in hours (5 or 24)

Substrate: Chemical compound added to each technical replicate in the assay (Water, Methyl_oleate, Phenylethylamine, Glutamic_acid, D-Cellobiose, D-Trehalose, L-Leucine, D-Glucose, Citric_acid, Cellulose, D-Fructose, Lactic_acid, Glucosamine_hydrochloride, Chitosan, Oxalic_acid, L-Glutamine, Tween40, D-Xylose, Salicylic_acid, Chitin, L-Alanine, Vanillic_acid, Lignin, Glycine, Malic_acid, Hemicellulose, BSA, Diethylamine, L-Arginine, GABA, 	N-Acetyl-D-glucosamine, Succinic_acid)

Substrate_category:	Categorical chemical class each substrate belongs to (control,	plant wax ester, amine,	amino acid A,	carbohydrate,	amino acid D,	carboxylic acids, polymer, amino acid B, fatty acid ester, phenolic, amino acid C, protein, signaling molecule)

Substrate_formula: Chemical Formula of substrate- indicates the proportionate number of atoms of each element

Substrate_NOSC: Average nominal oxidation state of carbon in the substrate calculated according to the formula: NOSC= 4 -{4C + H - 3N - 2O + 5P - 2S}/{C} (numeric)

Molar_mass: Molar mass of each substrate (numeric)

Substrate_solubility: Solubility of each substrate in water at 20oC (mixed units- either categorical (na, insoluble or infinite) or numeric (g per 100g water)

mgC_per_well: mg of carbon added to each technical replicate in the assay (numeric)

Normalization: method of data normalization (ngCO2-C-gdw_h = ng of carbon from CO2 respired per g dry weigh soil per hour; ngCO2-C_mgC_h = ng of carbon from CO2 respired per mg of added C from the substrate per hour)

SIR: substrate induced respiration; normalized respiration rates, units according to variable Normalization (numeric)

4. Missing data codes: none

5. Specialized formats or other abbreviations used: na (not applicable) applied to variables NOSC and Solubility for Water control samples.

METHODOLOGICAL INFORMATION

1. Description of methods used for collection/generation of data:

Variables [Sample_cat, Collection_date, Plot, Irrigation_trmt_pct, Irrigaiton_trmt_cat, Timepoint, Substrate, Class, Formula, NOSC, Molar_mass, Solubility, mgC_per_well, Normalization, SIR]

We leveraged the MicroResp (The James Hutton Institute) system to assay substrate induced respiration for 31 substrates selected to represent common root exudates and soil biopolymers, plus a water only control. Each substrate was assayed in triplicate in 96-deepwell plates. ~40g of 2mm sieved and homogenized soil from each sample was added to each plate (0.45g/well) with enough solution to reach 60 % WHC. After leaving the samples uncovered for 30min to allow the escape of CO2 produced from abiotic reactions the plates were sealed with sealing mats. Absorbance at T0 at 570nm of a 96 well plate containing 150uL Cresol Red pH indicator gel (12.5ug/mL Cresol Red. 150mM potassium chloride, 2.5mM sodium bicarbonate, 1% purified agar) was read using a plate reader (BioTek Synergy HT plate reader, BioTek Instruments, Inc., Winooski, VT, USA), and then immediately inverted and sealed and clamped onto the deepwell plate. Samples were incubated at room temperature. After 5 hours, the 96 well plate containing pH indicator gel was removed and absorbance at 570nm was read. A new indicator plate was placed onto the deepwell plate and seal system immediately after reading its baseline absorbance, incubated until 24hrs after the start of the assay and then absorbance reading was repeated.  Citation: 10.1128/AEM.69.6.3593-3599.2003)

2. Methods for processing the data:

Calculations: Calculations were done according to the MicroResp system instructions. First readings were normalized against T0 reading by dividing the 5hr reading of each well by the T0 reading and then multiplying by the average absorbance at T0. Absorbance was then converted to %CO2 according to the equation %CO2 = (-0.2265 + -1.606/ (1 + (-6.711 * Absorbance))). The CO2 production rate was calculated according to the formula ug CO2-C/gdw/h = (((%CO2/100) x Headpace volume in uL x (44/22.4) x (12/44) x (273/(273+20))/soil dry weight in g))/incubation time in hours). For readings normalized to mgC added the CO2-C/gdw/h rate was divided by mgC added per g dry weight soil.

3. Instrument- or software-specific information needed to interpret the data: none

4. Standards and calibration information, if appropriate: none

5. Environmental/experimental conditions:

Field Site Description:

Samples were collected from the Tall Wheatgrass Irrigation Field Trial in Prosser, WA, USA (46.25; -119.73), operated by Washington State University, and described in our previous publications. The site is characterized by marginal soil with low organic matter content (~1.5% at the 5-15cm depth) and pH of 8. Tall wheatgrass (Thinopyrum ponticum), which is drought tolerant and adapted for growth on marginal soil, was established in May 2018. Plants are uniformly distributed within plots. Irrigation treatments have been ongoing since spring 2019. From 2019-2023 water was supplied at four levels (100%, 75%, 50%, and 25% field water capacity) to create plots with differing water stress. Irrigation is provided through drip lines from April to October. Each experimental plot is 2.1 m × 10.7 m with a 1.5 m alley between adjacent plots. (Citations: 10.1128/msystems.00099-24; https://doi.org/10.3389/frmbi.2023.1078024; 10.1128/mSystems.00055-19)

Soil Collection:

Soil cores were collected on the first Wednesday of each month from June 2023 - June 2024. from plots within 25% and 100% irrigation treatments, including 6 field replicates per treatment. All sampled plots were planted with the Jose cultivar, resulting in n = 6 for each irrigation treatment per collection date. Within each plot, three cores were collected from 0-15cm depth with a 1in diameter soil probe. Triplicate cores were pooled and aseptically broken up and a subsample for RNA was snap frozen in liquid nitrogen (and stored at -80°C prior to RNA extraction). The remaining soil was transported from the field site to the Pacific Northwest National Laboratory (PNNL) on ice for processing.

Soil Processing:

In the laboratory, 2mm sieves were used to homogenize soil and remove large roots and rocks prior to subsampling. All subsampling was completed within 24 hours of sample collection. Subsamples for MicroResp were stored at 4°C until further analysis within 1 week of sample collection.

6. Describe any quality-assurance procedures performed on the data: not applicable

7. People involved with sample collection, processing, analysis and/or submission: Sheryl Bell, Amy Zimmerman, Regan McDearis, Evan Warburton, Sharon Zhao, Vanessa Garayburu-Caruso, Kali Cornwell, Gregory Martin, Mischelle Schutz

DATA-SPECIFIC INFORMATION FOR: [SoilSFA_3.1_EEA.csv]

<repeat this section for each dataset, folder or file, as appropriate>

1. Number of variables: 20

2. Number of cases/rows: 157 including header

3. Variable List:

Sample_cat: unique Soils SFA identifier (format SM####)

Collection_date: date of sample collection (YYYY-MM-DD)

Plot: unique numeric plot ID (1,25,27,40,46,57,8,13,28, 33, 48, 53

Irrigation_trmt_pct: irrigation treatment level by relative % water application (25, 100)

Irrigation_trmt_cat: irrigation treatment level by category (T1 = 100%, T4 = 25%)

BG_nmol_gdw_h: Release of 4-Methylumbelliferone (MUB) from 4-MUB-b-D-glucopyranoside

BX_nmol_gdw_h: Release of 4-Methylumbelliferone (MUB) from 4-MUB-b-D-xyloside

CB_nmol_gdw_h: Release of 4-Methylumbelliferone (MUB) from 4-MUB-b-D-cellobioside

AP_nmol_gdw_h: Release of 4-Methylumbelliferone (MUB) from 4-MUB-phosphate

NAG_nmol_gdw_h: Release of 4-Methylumbelliferone (MUB) from 4-MUB-b-D-glucosaminide

Leu_nmol_gdw_h: Release of 4-methylcoumarin (MUC) from L-Leucine-7-amino-4-MUC

Ala_nmol_gdw_h: Release of 4-methylcoumarin (MUC) from L-Alanine-7-amino-4-MUC

Sum_Carbon: Summed activity of enzymes primarily targeted at carbon degradation (BG_nmol_gdw_h + BX_nmol_gdw_h + CB_nmol_gdw_h)

Sum_Nitrogen: Summed activity of enzymes primarily targeted at nitrogen degradation (NAG_nmol_gdw_h + Leu_nmol_gdw_h + Ala_nmol_gdw_h)

Sum_Phosphorus: Summed activity of enzymes primarily targeted at phosphorus degradation (equals to AP_nmol_gdw_h)

EEA_C_N: Ratio of Sum_Carbon: Sum_Nitrogen (unitless)

EEA_C_P: Ratio of Sum_Carbon: Sum_Phosphorus (unitless)

EEA_N_P: Ratio of Sum_Nitrogen: Sum_Phosphorus (unitless)

MBC_ug_gdw: microbial biomass carbon measurement (ug C/g dry soil)

MBN_ug_gdw: microbial biomass carbon measurement (ug N/g dry soil)

4. Missing data codes: none

5. Specialized formats or other abbreviations used: none

METHODOLOGICAL INFORMATION

1. Description of methods used for collection/generation of data:

Extracellular Enzyme Assays:

Variables: [BG_nmol_gdw_h; BX_nmol_gdw_h; CB_nmol_gdw_h; AP_nmol_gdw_h; NAG_nmol_gdw_h; Leu_nmol_gdw_h; Ala_nmol_gdw_h]

Units: [nmol per g dry soil per hour]

Potential enzyme activity of six methylumbelliferone (MUB) linked hydrolytic enzymes and four methylcoumarin (MUC) linked peptidases involved in C and N cycling were measured. The five MUB-linked enzymes include: ß-glucosidase (BG, hydrolyzes cellobiose into glucose), ß-xylosidase (BX, degrades hemicellulose), cellobiohydrolase (CB, degrades cellulose, is an exocellulase), acid phosphatase (AP, hydrolyses organic phosphates), and N-acetyl-ß-D-glucosaminidase (NAG, breaks down chitin and peptidoglycan, and hydrolyses glucosamine from chitobiose). The two MUC-linked peptidases include: Leucine aminopeptidase (Leu, hydrolyses leucine residues), alanine aminopeptidase (Ala, hydrolyses N-terminal alanine residues). Substrate concentrations were 400um in well for all enzymes except AP at 800um.

To measure potential enzymatic activity, 1 gram of soil was homogenized in 100mL of

100mM Tris buffer at pH of 7.91. Eight analytical replicates of homogenate per sample per substrate were aliquoted to costar black 96-well plates containing substrates. All plates were incubated in the dark, at room temperature. After 1 and 3 hours of incubation, samples were read using a fluorometer (360 nm excitations and 460 nm emissions). Analysis included a MUB/MUC curve, substrate controls, and homogenate controls for each sample. Prior to analysis, the Michaelis constant (Km) and linearity of the reactions were confirmed. Enzymatic activity was calculated as µmol enzyme g-1 dry soil h-1. Activities were calculated according to German et al. 2011 except that net fluorescence, quenching, and emission coefficients were calculated at 1 and 3 hours, and activity was then calculated by the difference between the two measurements. It is important to note that this assay measures potential rates. Potential enzyme assays are run under saturating substrate concentrations, and in a soil slurry which maximizes physical dispersion of both enzymes and substrates and therefore do not reflect the rate of the reaction occurring in a soil, but rather the size of the enzyme pool.

(Citations: https://doi.org/10.1016/j.soilbio.2011.03.017; https://doi.org/10.1016/j.soilbio.2011.11.002; https://doi.org/10.1016/j.soilbio.2019.107561, (and cite 2.2))

Microbial Biomass Carbon and Nitrogen: (Protocol Links)

[Variables: MBC_ug_gdw, MBN_ug_gdw, MBC_MBN]

Note: Data for these three variables is also included in a related data package (Soil Biogeochemistry). All reported values are identical and redundant across the two data packages.

We used a sequential chloroform fumigation extraction (CFE) method for salt extractable and microbial biomass C and N pool quantification.  Using a 50 mL conical tube, 8 g subsamples were shaken horizontally at 200 rpm at room temperature for 2 hours in 24 mL of 0.5 M K2SO4. After, subsamples were centrifuged at 3,220 x g for 20 minutes. Then, the supernatant was filtered through quantitative ashless filter paper (Whatman No. 42), which had been pre-leached three times with 0.5 M K2SO4 and one time with ultrapure water. Two to three drops of phosphoric acid were added to the filtrate for preservation then frozen in -20 °C for storage until total organic carbon (TOC) and total nitrogen (TN) analysis. The same initial 8 g of soil pellet was then reused in sequence to measure microbial biomass carbon (MBC) and microbial biomass nitrogen (MBN). Two milliliters of ethanol-free chloroform (VWR# BJ049-1L) was added to each subsample and incubated at room temperature in the dark for 24 hrs. Chloroform was allowed to evaporate from the samples for 48 hours. The 0.5 M K2SO4 extraction was then repeated according to the same protocol.

Acidified extracts were diluted 10X with 0.05M HCl and were analyzed with a Vario TOC Cube analyzer (elementar, Germany) or TOC-L/TNM-L (Shimadzu, Columbia, Maryland) to quantify non-purgeable organic C and TN. Process blanks were carried through the same extraction and handling procedure and analyzed alongside the samples. A carbon + nitrogen standard curve of potassium hydrogen phthalate (0-10ppm) and potassium nitrate (0-5 ppm) was run at the start and end of each batch of samples and check standards were run every 10 samples). The total amount of TOC and TN in blanks was subtracted from the TOC and TN in sample extracts to account for background levels of C and N contamination. (Citations:  https://doi.org/10.1007/s003740050030 ; https://doi.org/10.1016/j.scitotenv.2021.150514)

2. Methods for processing the data:

Extracellular Enzyme Data Processing:

- The 1hr unquenched plate from the same date as the samples was used in all calculations for all 1hr sample calculations from that day. The 3hr unquenched plate read from the same date as the samples was used in all calculations for all 3hr sample calculations from that day.

- The MUB curve was used to calculate BG, BX, CB, AP, and NAG (Chitin). The MUC curve was used to calculate Leu and Ala (AAP, Lys-Ala).

- Calculate mean fluorescence values across replicate wells.

- For the unquenched plate calculate the mean fluorescence value for the 8 replicate wells for each substrate.

- For the unquenched plate calculate the mean fluorescence value for the 2 replicate wells for each concentration of the MUB curve and the MUC curve.

- For each sample plate calculate the mean fluorescence value for the 8 replicate wells for each substrate and soil blank.

- For each sample plate calculate the mean fluorescence value for the 2 replicate wells for each concentration of the MUB curve and the MUC curve

- Calculate the slope and the R2 values for the MUB and MUC curves from both unquenched and sample plates.

- Calculate the Quench Coefficient for each plate by dividing the slope of the MUB and MUC curves on the sample plate by the slope of the MUB and MUC curve on the unquenched plate.

- Calculate the Net Fluorescence (RFU) of each substrate: Net Fluorescence  =  ((mean fluorescence of the sample – soil blank)/ Quench Coefficient) - mean fluorescence from the unquenched plate

- Calculate the Emission Coefficient (Fluorescence umol-1) for each sample plate: Emission Coefficient = Slope of the MUB or MUC curve from the sample plate / (volume in the standard wells (i.e 250 ul) / 1000 (to convert uL to mL)

- Calculate the umol MUB or MUC released per g dry soil for both the 1hr plate reads and the 3hr plate reads = (Net Fluorescence x Buffer volume in mL (i.e. 100))/(Emission Coefficient x volume in the well (i.e. 250ul /1000 to convert it to mL) x soil mass in dry weight)

- Calculate the exact elapsed time between the 1hr plate read and the 3hr plate read in hours.

- Calculate Activity (umol g-1 hr-1) = (umol MUB or MUC released per g dry soil at 3hr - umol MUB or MUC released per g dry soil at 1hr) / elapsed time in hours

(Citations: https://doi.org/10.1016/j.soilbio.2011.03.017; https://doi.org/10.1016/j.soilbio.2011.11.002)

Microbial Biomass Carbon and Nitrogen Calculations: Peak areas were converted to ppm using the standard curves and TOC/TN in the process blanks was subtracted from all samples. TOC/TN concentrations were then normalized to the dry mass of soil used for the extraction, after accounting for additional volume in the extraction from water in the soil. The TOC and TN in the samples were then normalized to the dry mass of soil used for the extraction.

3. Instrument- or software-specific information needed to interpret the data: Included above

4. Standards and calibration information, if appropriate: A standard curve of MUB and MUC were run on each sample plate for EEA assays, standard curves of potassium hydrogen phthalate (0-10ppm) and potassium nitrate (0-5 ppm) were run at the start and end of each batch of samples and check standards were run every 10 samples) for MBC and MBN samples.

5. Environmental/experimental conditions:

Field Site Description:

Samples were collected from the Tall Wheatgrass Irrigation Field Trial in Prosser, WA, USA (46.25; -119.73), operated by Washington State University, and described in our previous publications. The site is characterized by marginal soil with low organic matter content (~1.5% at the 5-15cm depth) and pH of 8. Tall wheatgrass (Thinopyrum ponticum), which is drought tolerant and adapted for growth on marginal soil, was established in May 2018. Plants are uniformly distributed within plots. Irrigation treatments have been ongoing since spring 2019. From 2019-2023 water was supplied at four levels (100%, 75%, 50%, and 25% field water capacity) to create plots with differing water stress. Irrigation is provided through drip lines from April to October. Each experimental plot is 2.1 m × 10.7 m with a 1.5 m alley between adjacent plots. (Citations: 10.1128/msystems.00099-24; https://doi.org/10.3389/frmbi.2023.1078024; 10.1128/mSystems.00055-19)

Soil Collection:

Soil cores were collected on the first Wednesday of each month from June 2023 - June 2024. from plots within 25% and 100% irrigation treatments, including 6 field replicates per treatment. All sampled plots were planted with the Jose cultivar, resulting in n = 6 for each irrigation treatment per collection date. Within each plot, three cores were collected from 0-15cm depth with a 1in diameter soil probe. Triplicate cores were pooled and aseptically broken up and a subsample for RNA was snap frozen in liquid nitrogen (and stored at -80°C prior to RNA extraction). The remaining soil was transported from the field site to the Pacific Northwest National Laboratory (PNNL) on ice for processing.

Soil Processing:

In the laboratory, 2mm sieves were used to homogenize soil and remove large roots and rocks prior to subsampling. All subsampling was completed within 24 hours of sample collection. Subsamples for MicroResp were stored at 4°C until further analysis within 1 week of sample collection.

6. Describe any quality-assurance procedures performed on the data: not applicable

7. People involved with sample collection, processing, analysis and/or submission: Sheryl Bell, Amy Zimmerman, Regan McDearis, Evan Warburton, Sharon Zhao, Vanessa Garayburu-Caruso, Kali Cornwell, Gregory Martin, Mischelle Schutz

DATA-SPECIFIC INFORMATION FOR: [SoilSFA_3.1_Biogeochemistry.csv]

<repeat this section for each dataset, folder or file, as appropriate>

1. Number of variables: 37

2. Number of cases/rows: 169 (including header)

3. Variable List:

<list variable name(s), description(s), unit(s)and value labels as appropriate for each>

Sample_cat: unique Soils SFA identifier (format SM####)

Collection_date: date of sample collection (YYYY-MM-DD)

Plot: unique numeric plot ID (1,25,27,40,46,57,8,13,28, 33, 48, 53

Irrigation_trmt_pct: irrigation treatment level by relative % water application (25, 100)

Irrigaiton_trmt_cat: irrigation treatment level by category (T1 = 100%, T4 = 25%)

Cultivar: Tall Wheatgrass cultivar (categorical) [Jose]

Block: field block identifier where plot is located (numeric) [1-3]

Rep: treatment replicate identifier at field site (numeric) [1-6]

Depth_cm: depth of soil sampled (numeric range in cm) [0_15]

Soil_frac: soil fraction sampled (categorical) [Bulk]

SoilTemp_mean: Soil temperature data from Meter Teros11 soil temperature sensors installed at 18cm depth within experiment plots. Mean of values from 12:00 three days prior to Collection_date until 12:00 on Collection_date (units oC)

SoilTemp_min: Soil temperature data from Meter Teros11 soil temperature sensors installed at 18cm depth within experiment plots. Minimum of values from 12:00 three days prior to Collection_date until 12:00 on Collection_date (units oC)

SoilTemp_max: Soil temperature data from Meter Teros11 soil temperature sensors installed at 18cm depth within experiment plots. Maximum of values from 12:00 three days prior to Collection_date until 12:00 on Collection_date (units oC)

GWC: Gravimetric water content of soil samples (%)

pH: pH of 1:2 soil:deionized water slurry (unitless measure on a logarithmic scale)

Root_g	: measured root mass in sample (g)

Roots_gdw: root mass normalized to total soil collected (g/ g dry soil)

CO2_C_20_m2: ug of carbon from CO2 respired per m2 after respiration collars were capped for 20minutes (ug CO2-C m2-1)

CO2_C_40_m2: ug of carbon from CO2 respired per m2 after respiration collars were capped for 40minutes	 (ug CO2-C m2-1)

CO2_C_60_m2: ug of carbon from CO2 respired per m2 after respiration collars were capped for 40minutes (ug CO2-C m2-1)

SEOC_ug_gdw: salt-extractable organic carbon measurement (ug C/g dry soil)

SETN_ug_gdw: salt-extractable total nitrogen measurement (ug N/g dry soil)

MBC_ug_gdw: microbial biomass carbon measurement (ug C/g dry soil)

MBN_ug_gdw: microbial biomass carbon measurement (ug N/g dry soil)

Oslon_OP_ug_gdw: bicarbonate extractable organic P after conversion to PO4 (ug PO4/g dry soil)

Olson_IP_ug_gdw: bicarbonate extractable inorganic P (ug PO4/g dry soil)

MBP_OP_ug_gdw: bicarbonate extractable organic microbial biomass phosphorus after conversion to PO4 (ug PO4/g dry soil)

MBP_IP_ug_gdw: bicarbonate extractable inorganic microbial biomass phosphorus (ug PO4/g dry soil)

Resin_NH4: measured ammonium concentration from 0.5M HCl extracts of cation/anion resin membranes strips incubated in the field for ~30days. (ug NO3 mm2-1 day-1)

Resin_NO3: measured nitrate concentration from 0.5M HCl extracts of cation/anion resin membranes strips incubated in the field for ~30days. (ug NH4 mm2-1 day-1)

Resin_PO4:  measured phosphate concentration from 0.5M HCl extracts of cation/anion resin membranes strips incubated in the field for ~30days. (ug PO4 mm2-1 day-1)

4. Missing data codes: NA

5. Specialized formats or other abbreviations used: none

METHODOLOGICAL INFORMATION

1. Description of methods used for collection/generation of data:

Soil Temperatures: [Variables: SoilTemp_mean; SoilTemp_min; SoilTemp_max]

In March 2022, twelve Meter Teros11 soil temperature probes were installed at the Prosser Irrigated Tall Wheatgrass trial at a depth of 18cm according to manufacturer instructions using a TEROS Borehole Installation Tool and connected to Meter ZL6 dataloggers. Data from the dataloggers was collected and subset to the 72hour period starting at noon three days prior to each collection date until noon the date of sample collection. The mean, minimum and maximum values in that 72hour period for each temperature probe were calculated.

Field Respiration: [Variables: CO2_C_20_m2; CO2_C_40_m2; CO2_C_60_m2]

One month prior to the first collection date (May 2023) thick-walled, 8-inch diameter and 4.5in tall SDR 35 PVC collars were inserted into the soil to a depth of 5cm. On each sampling date static chambers constructed from PVC sewer end caps with an airtight rubber seal were placed on the collars. Four headspace samples (T0, 20m, 40m, 60m) were collected from each chamber over an approximate 1-hour sampling period (i.e., returning to the same chamber roughly every 20 minutes). Using a syringe, a 10mL sample was removed and injected into evacuated exetainers. Ambient air samples were also collected at the start and end of each sampling day. To account for changes in the collars over time the inside height of each collar above the surface was collected at three locations and used to calculate headspace volume.

CO2 concentrations were measured by removing 1.5 mL from each exetainer with a precision gas syringe and injected manually via a valved sample injection loop system into a Licor LI7000 (Licor, Lincoln, Nebraska). A 2000ppm calibration standard was run at the start, end, and every 12 samples.

GWC: [Variable: GWC]

After soil collection and sieving 5g subsamples were weighed into pre-weighed tins, and placed at 60oC until a stable dry weight was achieved (~48 hours) (Citation: 10.1093/oso/9780195120837.001.0001)

pH: [Variable: pH]

After soil collection and sieving an aliquot of soil was air-dried. 10mL subsamples of soil were placed in 30mL beakers and 20mL of deionized water was added to each sample to create a 1:2 soil:water vol:vol slurry. Samples were stirred for 1 minute and then allowed to sit for 30 minutes. pH was measured while swirling the samples to maintain a slurry on a Fisherbrand FE150 pH meter calibrated with pH 4, 7, and 10 standards. (Citation: 10.1093/oso/9780195120837.001.0001)

Extractable Carbon and Nitrogen Pools: [Variables: SEOC_ug_gdw, SETN_ug_gdw, MBC_ug_gdw, MBN_ug_gdw]

We used a sequential chloroform fumigation extraction (CFE) method for salt extractable and microbial biomass C and N pool quantification.  Using a 50 mL conical tube, 8 g subsamples were shaken horizontally at 200 rpm at room temperature for 2 hours in 24 mL of 0.5 M K2SO4. After, subsamples were centrifuged at 3,220 x g for 20 minutes. Then, the supernatant was filtered through quantitative ashless filter paper (Whatman No. 42), which had been pre-leached three times with 0.5 M K2SO4 and one time with ultrapure water. Two to three drops of phosphoric acid were added to the filtrate for preservation then frozen in -20 °C for storage until total organic carbon (TOC) and total nitrogen (TN) analysis. The same initial 8 g of soil pellet was then reused in sequence to measure microbial biomass carbon (MBC) and microbial biomass nitrogen (MBN). Two milliliters of ethanol-free chloroform (VWR# BJ049-1L) was added to each subsample and incubated at room temperature in the dark for 24 hrs. Chloroform was allowed to evaporate from the samples for 48 hours. The 0.5 M K2SO4 extraction was then repeated according to the same protocol. Acidified extracts were analyzed with a Vario TOC Cube analyzer (Elementar, Germany) to quantify non-purgeable organic C and TN. Process blanks were carried through the same extraction and handling procedure and analyzed alongside the samples. The total amount of TOC and TN in blanks was subtracted from the TOC and TN in sample extracts to account for background levels of C and N contamination. The TOC and TN in the samples were then normalized to the dry mass of soil used for the extraction. (Citations:  https://doi.org/10.1007/s003740050030 ; https://doi.org/10.1016/j.scitotenv.2021.150514)

Extractable Phosphorus Pools: [Variables: Olson_IP_ug_gdw; Olson_OP_ug_gdw; MBP_IP_ug_gdw; MBP_OP_ug_gdw; [Units: ug P/g dry soil]

Extraction:

For each soil subsample, three aliquots of 2g soil were weighed into 50mL tubes, and 40mL of 0.5M NaHCO3 pH 8.5 was added. To one set of tubes 250mg of potassium phosphate was added. Samples were shaken horizontally at room temperature at 200rpm for 30 minutes and then centrifuged at 3,220 x g for 20 minutes. The supernatant from each sample was filtered using Whatman grade 42 filter paper into 50mL tubes and stored at -20oC until analysis.

For microbial biomass P the third aliquot of 2g soil was weighed into 50mL tubes, and 500uL of chloroform was added to each tube. Tubes were capped and samples were incubated at room temperature in the dark for 24 hrs. Chloroform was allowed to evaporate from the samples for 48 hours. The 0.5M NaHCO3 extraction was performed according to the same protocol as the non-spiked soil subsamples.

Empty tubes with no soil were processed alongside samples as process blanks.

(Citation: https://www.sciencedirect.com/science/article/pii/0038071782900013 )

Organic Phosphorus Digestion:

Prior to quantification, a subsample of each NaHCO3 extract was digested to convert organic P into inorganic phosphate (PO4). 5mL of each sample or process blank was mixed with 5mL of alkaline persulfate digestion reagent (185mM potassium persulfate; 500mM sodium hydroxide; 485mM Boric Acid) in a 50mL tube and immediately capped. A 1ppm Adenosine 5’-Monophosphate (A5MP) organic phosphorus standard in 0.5M NaHCO3 pH 8.5 was digested alongside samples to calculate digestion efficiency. Samples were incubated at 85oC for 18 hours. Sample were allowed to cool to room temperature and analyzed for PO4 content within 48 hours. (Citation: 10.1016/j.talanta.2009.01.029; https://doi.org/10.1016/j.apgeochem.2017.01.011)

Colorimetric Assay Phosphorus:

PO4 in the extracts was assayed by malachite green colorimetric assay. Both undigested and persulfate digested NaHCO3 extracts and were first acidified with HCl as the malachite assay requires acidic conditions. Samples were measured in triplicate in 96-well polystyrene microplates after adding 0.015M ammonium paramolybdate, plates were incubated at room temp for 10 minutes, after which malachite green reagent was added and samples were incubated for an additional 30 minutes at room temperature, and read at 630 nm (BioTek Synergy HT plate reader, BioTek Instruments, Inc., Winooski, VT, USA). Each 96-well plate included a standard curve in triplicate from 0-1ppm of sodium phosphate. (Citation: 10.2134/jeq2001.2206)

Resin Strips: Variables: [Resin_NH4; Resin_NO3, Resin_PO4]

Anion and cation exchange membranes from Membranes International (anion- AMI-7001S; cation- CMI-7000S) were cut into 2.5 cm x 10 cm pieces. A whole punch was used to cut circles at one end of cation strips and a star at one end of anion strips to differentiate them. Both strips were placed in separate containers and covered with 0.5M HCl and shaken at 40rpm. After 1 hour, the HCl was replaced with 0.5M NaCO3 and shaken at 40rpm for 5 hours replacing the NaCO3 every hour. The strips were then rinsed with MilliQ H2O and placed into separate bags with some water to keep the strips moist until placed in the soil.

A cation and anion strip were placed vertically in the ground in each plot at the beginning of each month. The strips from the previous month were removed, loose soil was gently brushed off and brought back to the lab. Strips recovered from the field were gently rinsed with MilliQ water to remove any remaining soil. Each pair of anion and cation strips were placed in 125 mL Nalgene bottles with 70 mL of 0.5M HCl and shaken at 40rpm for 1 hour. The HCl was poured into a syringe and filtered into a 50 mL tube using a Type A/E, 1 um pore size, glass fiber filter. These extracts were stored at –20 C for Nitrate, Ammonia, and Phosphate analysis. The leftover strips were regenerated and reused for the field using the method above or replaced as needed. (Citation: 10.1093/oso/9780195120837.001.0001 )

Inorganic Nitrogen Assays:

Ammonium Assay: Ammonium is assayed via a phenolic-hypochlorite reaction. 40uL of sample or standards were added to the well and then 100uL of sodium salicylate solution (425uM sodium salicylate; 170uM sodium citrate dihydrate; 158uM sodium tartrate; 954nM sodium nitroprusside) and 100uL Bleach/NaOH solution (~0.1% bleach; 1.5M NaOH). Plates were incubated in the dark for 50 minutes at room temperature and absorbance was read at 650 nm (BioTek Synergy HT plate reader, BioTek Instruments, Inc., Winooski, VT, USA). Each plate included a standard curve of ammonium sulfate in triplicate. For high range samples, a standard curve from 0.5-15ppm were constructed, for low range samples, a standard curve from 0.05-1 ppm were constructed.

Nitrate Assay: Nitrate is assayed via vanadium reduction. 40uL of sample or standards were added to the well and then 200uL of vanadium (III) reagent (6uM vanadium (ii) chloride; 5.8uM sulfanilamide; 193nM N-1(1-napthyl)ethylenediamine dihydrochloride; 0.5M HCl). Plates were incubated in the dark for 5 hours at room temperature or 37oC for 1 hour and read at 540 nm (BioTek Synergy HT plate reader, BioTek Instruments, Inc., Winooski, VT, USA). Each plate included a standard curve of potassium nitrate in triplicate. For high range samples, curves from 0.5-15ppm were constructed, for low range samples, curves from 0.05-1 ppm were constructed. (Citations: https://doi.org/10.2136/sssaj2009.0389; 10.1021/ac60252a045)

Colorimetric Assay Phosphorus: 
PO4 in the extracts was assayed as above by malachite green colorimetric assay, except that no acidification of the samples was required prior to the assay. PO4 concentrations in the resin strip extracts was often higher than the standard curve, and when needed 5X or 10X dilution of samples with additional 0.5M HCl was done to bring the samples within range. (Citation: 10.2134/jeq2001.2206)

2. Methods for processing the data:

Field Respiration Calculations: Peak area integrals were converted to ppm CO2 based on 2000ppm standard integrals. Ambient air CO2 concentrations were subtracted from the static chamber samples to account for CO2 trapped in the chambers at the time of capping. CO2 concentrations in the T0 samples (after subtraction of ambient CO2) were subtracted from the 20m, 40m, and 60m samples collected from the same static chamber to account for variability in the headspace concentration at the time of capping. The volume of headspace of each static chamber was calculated by using the mean of the three soil height measurements to calculate the volume in the collar portion and then adding 3000mL to account for the volume of the PVC cap. Gas law constants were used to convert to umol of CO2 and then converted to ug of C from CO2. CO2-C was normalized by the surface area within the collars to yield ug CO2-C / mm2.

Extractable Carbon and Nitrogen Pool Calculations: Peak areas were converted to ppm using the standard curves and TOC/TN in the process blanks was subtracted from all samples. TOC/TN concentrations were then normalized to the dry mass of soil used for the extraction, after accounting for additional volume in the extraction from water in the soil. The TOC and TN in the samples were then normalized to the dry mass of soil used for the extraction.

Extractable Phosphorus Calculations:

For Inorganic P: Absorbance values were converted to ppm using the standard curve. The PO4 concentration in process blanks was subtracted from all samples. The difference in PO4 content between the undigested samples spiked with potassium phosphate and the undigested unspiked samples was used to calculate the extraction efficiency (typically >90%) and was used to adjust the PO4 concentrations in the extracts. PO4 concentrations were then normalized to the dry mass of soil used for the extraction, after accounting for additional volume in the extraction from water in the soil. For MBP samples the ug PO4/g dry soil in the undigested unfumigated sample was subtracted from the ug PO4/g dry soil in the undigested fumigated sample.

For Organic P: Absorbance values were converted to ppm using the standard curve. The P concentration in process blanks was subtracted from all samples. Then the PO4 in the undigested sample was subtracted from the digested sample to account for inorganic P in the extract. The concentration of the 1ppm Adenosine 5’-Monophosphate (A5MP) organic phosphorus standard in the assay was used to calculate a digestion efficiency (% of organic P converted to PO4) and used to calculate the actual organic P concentration in the extracts. Organic P concentrations were then normalized to the dry mass of soil used for the extraction, after accounting for additional volume in the extraction from water in the soil. For MBP samples the ug OP/g dry soil in the digested unfumigated sample was subtracted from the ug OP/g dry soil in the digested fumigated sample.

Resin Strip Calculations: Absorbance values were converted to ppm using the standard curve. The NH4, NO3, or PO4 concentration in 0.5M HCl blanks were subtracted from all samples. Values are reported as: µg NH4/NO3/PO4 mm-2 day-1 = [(conc in µg NH4/NO3/PO4 per mL) × mL of HCl added)] / (total area of the strips × number of days in the ground)

3. Instrument- or software-specific information needed to interpret the data: none

4. Standards and calibration information, if appropriate:

5. Environmental/experimental conditions:

Field Site Description:

Samples were collected from the Tall Wheatgrass Irrigation Field Trial in Prosser, WA, USA (46.25; -119.73), operated by Washington State University, and described in our previous publications. The site is characterized by marginal soil with low organic matter content (~1.5% at the 5-15cm depth) and pH of 8. Tall wheatgrass (Thinopyrum ponticum), which is drought tolerant and adapted for growth on marginal soil, was established in May 2018. Plants are uniformly distributed within plots. Irrigation treatments have been ongoing since spring 2019. From 2019-2023 water was supplied at four levels (100%, 75%, 50%, and 25% field water capacity) to create plots with differing water stress. Irrigation is provided through drip lines from April to October. Each experimental plot is 2.1 m × 10.7 m with a 1.5 m alley between adjacent plots. (Citations: 10.1128/msystems.00099-24; https://doi.org/10.3389/frmbi.2023.1078024; 10.1128/mSystems.00055-19)

Soil Collection:

Soil cores were collected on the first Wednesday of each month from June 2023 - June 2024. from plots within 25% and 100% irrigation treatments, including 6 field replicates per treatment. All sampled plots were planted with the Jose cultivar, resulting in n = 6 for each irrigation treatment per collection date. Within each plot, three cores were collected from 0-15cm depth with a 1in diameter soil probe. Triplicate cores were pooled and aseptically broken up and a subsample for RNA was snap frozen in liquid nitrogen (and stored at -80°C prior to RNA extraction). The remaining soil was transported from the field site to the Pacific Northwest National Laboratory (PNNL) on ice for processing.

Soil Processing:

In the laboratory, 2mm sieves were used to homogenize soil and remove large roots and rocks prior to subsampling. All subsampling was completed within 24 hours of sample collection. Subsamples for carbon, nitrogen and phosphorus extractions and the resin strips were stored at 4°C until further analysis within 1 week of sample collection. Subsamples for pH were air dried at room temperature.

6. Describe any quality-assurance procedures performed on the data:

Data from carbon, nitrogen and phosphorus analyses were checked for negative values which indicate that sample concentration were lower than process blanks or controls. Negative values were converted to zeros for analyses but could also be considered below the detection limit.

7. People involved with sample collection, processing, analysis and/or submission: Sheryl Bell, Amy Zimmerman, Regan McDearis, Evan Warburton, Sharon Zhao, Vanessa Garayburu-Caruso, Kali Cornwell, Gregory Martin, Mischelle Schutz

DATA-SPECIFIC INFORMATION FOR: [FILENAME]

<repeat this section for each dataset, folder or file, as appropriate>

1. Number of variables:

2. Number of cases/rows:

3. Variable List:

<list variable name(s), description(s), unit(s)and value labels as appropriate for each>

Sample_cat: unique Soils SFA identifier (format SM####)

Collection_date: date of sample collection (YYYY-MM-DD)

Plot: unique numeric plot ID (1,25,27,40,46,57,8,13,28, 33, 48, 53

Irrigation_trmt_pct: irrigation treatment level by relative % water application (25, 100)

Irrigaiton_trmt_cat: irrigation treatment level by category (T1 = 100%, T4 = 25%)

4. Missing data codes:

5. Specialized formats or other abbreviations used:

METHODOLOGICAL INFORMATION <REQUIRED> <If descriptions exist elsewhere, such as public articles, feel free to just provide links>

1. Description of methods used for collection/generation of data:

<Include links or references to publications or other documentation containing experimental design or protocols used in data collection>

2. Methods for processing the data:

<describe how the submitted data were generated from the raw or collected data>

3. Instrument- or software-specific information needed to interpret the data:

<include full name and version of software, and any necessary packages or libraries needed to run scripts>

4. Standards and calibration information, if appropriate:

5. Environmental/experimental conditions:

Field site description

TBD

Monthly sample collection

TBD

6. Describe any quality-assurance procedures performed on the data:

7. People involved with sample collection, processing, analysis and/or submission: Sheryl Bell, Amy Zimmerman, Regan McDearis, Evan Warburton, Sharon Zhao, Vanessa Garayburu-Caruso, Kali Cornwell, Gregory Martin, Mischelle Schutz…

SHARING/ACCESS INFORMATION <RECOMMENDED FOR PUBLICATION>

1. Licenses/restrictions placed on the data: This work is marked with CC0 1.0: https://creativecommons.org/publicdomain/zero/1.0/. The authors do request that you appropriately cite the dataset when referencing or re-using the dataset.

2. Links to publications that cite or use the data:

3. Links to other publicly accessible locations of the data:

4. Links/relationships to ancillary data sets:

5. Was data derived from another source? yes/no

A. If yes, list source(s):

6. Recommended citation for this dataset: Authors. Date. Title of Dataset. [Data Set] PNNL DataHub. DOI link